## Slide 1
z
y
x
Source
Detector
Isocenter
SDD
Source-Detector Distance
SID
Source-Isocenter Distance

## Slide 2
Tolerance ± 0.5 mm
Maximum distance:
outside : 3.06 mm
inside : 1.57 mm
Tolerance ± 0.5 mm
Maximum distance:
outside : 1.25 mm
inside : 1.6 mm
Inside distance
Outside distance
Distance within tolerance
Inside distance
Outside distance
Distance within tolerance

## Slide 3
a)
b)